## Electrical load
Load/Building/Resource | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | 62.746 | 62.272 | 58.022 | 60.992 | 57.664 | 60.212 | 60.851 | 80.2 | 95.13 | 115.042 | 128.64 | 128.959 | 129.796 | 136.333 | 131.068 | 126.888 | 124.343 | 108.12 | 94.758 | 84.965 | 78.438 | 63.18 | 60.569 | 59.994
2 | 44.9 | 43.4 | 42.3 | 40.9 | 41 | 41 | 40.4 | 49.6 | 49.7 | 64.2 | 67.8 | 66 | 65.9 | 66 | 61.7 | 65.2 | 68 | 67.6 | 68.4 | 68.6 | 68 | 52.8 | 49.5 | 48.3
3 | 5 | 6 | 5 | 6 | 6 | 6 | 6 | 11 | 23 | 25 | 24 | 25 | 27 | 23 | 21 | 21 | 17 | 13 | 8 | 7 | 6 | 7 | 6 | 5
4 | 17.2 | 18.4 | 18.4 | 22.3 | 21.2 | 21 | 18 | 20.5 | 37.7 | 38.3 | 42 | 40.8 | 38.2 | 39.3 | 43.5 | 44.9 | 39.9 | 28.3 | 19.8 | 20 | 17.5 | 16.7 | 13.1 | 17.4
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 3.725 | 3.756 | 3.943 | 3.739 | 3.895 | 3.759 | 3.623 | 3.82 | 15.278 | 22.006 | 21.306 | 24.446 | 23.197 | 25.722 | 26.176 | 24.818 | 21.86 | 19.272 | 13.758 | 10.838 | 6.806 | 4.471 | 3.36 | 3.238
7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 17 | 22 | 27 | 30 | 33 | 33 | 32 | 35 | 33 | 27 | 20 | 12 | 8 | 7 | 6 | 6 | 6
8 | 23.675 | 20.654 | 23.811 | 20.563 | 22.475 | 19.799 | 26.75 | 28.559 | 35.484 | 37.095 | 39.68 | 39.233 | 39.654 | 37.861 | 36.349 | 37.351 | 33.853 | 35.631 | 33.958 | 33.92 | 33.77 | 29.482 | 24.21 | 24.244
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 25.347 | 25.552 | 24.72 | 24.784 | 25.862 | 25.306 | 25.162 | 33.139 | 36.621 | 44.304 | 53.629 | 57.617 | 55.176 | 58.177 | 58.219 | 54.584 | 51.578 | 40.77 | 33.376 | 29.558 | 28.349 | 26.768 | 26.358 | 25.446
12 | 13.184 | 13.338 | 12.992 | 13.184 | 13.248 | 13.504 | 13.376 | 13.491 | 20.173 | 32.064 | 40.525 | 44.275 | 43.622 | 41.088 | 44.762 | 44.352 | 40.448 | 36.378 | 33.268 | 23.36 | 21.453 | 19.315 | 16.55 | 16.755
13 | 35.29 | 35.283 | 35.066 | 34.362 | 37.843 | 35.731 | 35.508 | 40.051 | 50.095 | 69.705 | 76.09 | 79.25 | 79.835 | 76.68 | 75.89 | 74.71 | 72.705 | 54.785 | 45.152 | 42.886 | 45.836 | 36.986 | 36.992 | 34.982
14 | 45 | 45 | 52 | 47 | 46 | 48 | 47 | 62 | 60 | 62 | 68 | 62 | 76 | 82 | 82 | 66 | 75 | 56 | 49 | 47 | 48 | 48 | 48 | 50
15 | 12.899 | 13.391 | 13.13 | 13.082 | 13.225 | 12.996 | 13.467 | 20.986 | 26.523 | 35.148 | 48.596 | 55.665 | 57.247 | 50.24 | 50.064 | 50.205 | 45.693 | 41.07 | 27.051 | 16.698 | 13.057 | 11.283 | 9.828 | 9.212
16 | 98 | 92 | 90 | 91 | 90 | 97 | 159 | 206 | 240 | 291 | 318 | 323 | 322 | 308 | 303 | 299 | 289 | 252 | 236 | 229 | 195 | 191 | 186 | 179
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 16.493 | 17.914 | 16.55 | 16.23 | 17.062 | 16.307 | 17.754 | 20.742 | 22.886 | 28.083 | 31.546 | 30.618 | 31.892 | 28.826 | 29.478 | 29.216 | 31.667 | 26.796 | 23.04 | 21.555 | 20.07 | 20.653 | 18.931 | 18.292
19 | 34 | 34 | 34 | 35 | 34 | 34 | 36 | 44 | 74 | 90 | 96 | 95 | 99 | 99 | 107 | 100 | 93 | 68 | 41 | 40 | 42 | 41 | 38 | 40
20 | 31.618 | 30.723 | 30.815 | 30.852 | 31.237 | 32.925 | 35.298 | 41.997 | 42.553 | 52.879 | 60.825 | 60.029 | 58.927 | 56.993 | 56.582 | 49.71 | 46.195 | 44.061 | 36.432 | 34.299 | 37.568 | 36.878 | 34.995 | 33.37
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 3.776 | 3.743 | 3.679 | 3.717 | 3.753 | 3.757 | 3.758 | 3.7 | 1.702 | 1.086 | 1.035 | 1.025 | 1.22 | 1.018 | 0.8 | 0.417 | 1.648 | 3.823 | 3.917 | 3.968 | 3.929 | 3.986 | 3.916 | 3.944
24 | 16.749 | 16.358 | 17.152 | 16.262 | 16.262 | 15.162 | 16.762 | 22.726 | 31.956 | 34.284 | 39.628 | 39.994 | 37.19 | 35.718 | 44.25 | 45.012 | 37.542 | 29.491 | 25.523 | 25.203 | 24.365 | 24.992 | 23.622 | 22.784
25 | 6.38 | 6.522 | 6.966 | 6.383 | 6.819 | 7.326 | 6.546 | 6.519 | 9.349 | 14.716 | 21.487 | 27.184 | 27.389 | 25.375 | 27.244 | 28.069 | 25.296 | 23.222 | 16.593 | 8.203 | 5.38 | 5.306 | 5.142 | 5.251
26 | 77.0816 | 76.2056 | 77.5738 | 75.8946 | 76.5211 | 78.0416 | 86.8135 | 107.0398 | 141.3643 | 174.7566 | 176.8601 | 176.5071 | 176.682 | 177.6001 | 173.0783 | 172.9865 | 171.861 | 156.3208 | 113.2741 | 101.4235 | 93.4893 | 90.647 | 86.4971 | 84.3728
27 | 20.624 | 20.086 | 19.088 | 19.175 | 20.492 | 18.806 | 33.344 | 52.995 | 58.416 | 64.851 | 67.193 | 71.823 | 77.346 | 76.403 | 73.196 | 69.915 | 65.506 | 52.557 | 43.907 | 41.228 | 29.984 | 24.771 | 20.452 | 20.365
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 40.029 | 39.035 | 37.848 | 37.956 | 39.93 | 38.511 | 40.064 | 58.801 | 76.986 | 93.854 | 103.98 | 104.878 | 107.895 | 104.22 | 101.08 | 98.18 | 88.63 | 73.19 | 61.849 | 58.57 | 55.848 | 45.924 | 43.6 | 41.852
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 506.148 | 494.697 | 500.779 | 497.777 | 501.408 | 508.617 | 519.604 | 593.13 | 699.338 | 796.604 | 877.866 | 893.307 | 896.11 | 873.533 | 868.634 | 862.766 | 787.527 | 646.949 | 572.966 | 539.982 | 521.263 | 509.496 | 503.914 | 499.526
32 | 16.691 | 15.165 | 16.762 | 14.854 | 16.31 | 14.26 | 19.466 | 26.259 | 41.034 | 37.876 | 51.1 | 57.342 | 79.995 | 75.28 | 70.26 | 74.97 | 61.26 | 55.71 | 30.541 | 27.37 | 26.112 | 25.716 | 18.66 | 19.068
33 | 118 | 117 | 116 | 116 | 115 | 114 | 114 | 120 | 135 | 157 | 174 | 178 | 178 | 177 | 180 | 182 | 171 | 158 | 148 | 141 | 132 | 131 | 127 | 127
34 | 99.895 | 80.107 | 67.613 | 45.599 | 41.491 | 42.502 | 51.674 | 55.398 | 84.432 | 101.02 | 104.41 | 108.95 | 117.326 | 108.941 | 107.072 | 95.1 | 92.684 | 98.12 | 95.667 | 102.725 | 108.174 | 120.72 | 116.454 | 113.819
35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | 0.969 | 0.906 | 0.849 | 0.852 | 1.091 | 0.855 | 1.228 | 1.36 | 3.121 | 5.806 | 7.156 | 7.066 | 6.91 | 7.088 | 6.925 | 6.952 | 6.679 | 6.738 | 11.63 | 10.836 | 6.302 | 1.313 | 1.281 | 0.813
37 | 12.79 | 12.586 | 11.808 | 12.016 | 12.204 | 11.8 | 11.896 | 12.354 | 12.52 | 12.579 | 12.308 | 14.196 | 12.574 | 13.568 | 15.1 | 15.92 | 14.546 | 16.14 | 16.931 | 17.258 | 15.586 | 16.45 | 15.144 | 15.302
38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Gas load
Load/Building/Resource | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8333 | 10.8333 | 10.8333 | 10.8333 | 10.8333 | 21.6666 | 10.8333 | 10.8333 | 10.8333 | 0 | 10.8333 | 10.8333 | 0 | 10.8333 | 0 | 0 | 0
2 | 4.225 | 2.1667 | 2.1667 | 1.625 | 2.6 | 1.8417 | 0.54166 | 1.95 | 3.0333 | 3.575 | 5.6333 | 4.875 | 7.6916 | 7.3666 | 7.3666 | 5.3083 | 6.2833 | 7.475 | 7.3666 | 6.0666 | 6.6083 | 6.0666 | 5.7416 | 5.525
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0833 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 2.1667 | 2.1667 | 2.1667 | 2.1667 | 2.1667 | 2.1667 | 2.1667 | 2.1667 | 5.4166 | 3.25 | 6.5 | 6.5 | 2.1667 | 3.25 | 5.4166 | 6.5 | 3.25 | 4.3333 | 2.1667 | 2.1667 | 2.1667 | 2.1667 | 2.1667 | 2.1667
12 | 0 | 0 | 1.4083 | 1.625 | 2.0583 | 1.5167 | 0.21667 | 0 | 0 | 0 | 0 | 0 | 1.5167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.95 | 1.7333 | 1.5167 | 1.625
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 2.1667 | 0 | 1.0833 | 0 | 1.0833 | 0 | 0 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 2.1667 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 1.0833 | 2.1667 | 3.25 | 5.4166 | 7.5833 | 10.8333 | 15.1666 | 16.2499 | 16.2499 | 15.1666 | 15.1666 | 17.3333 | 14.0833 | 10.8333 | 9.75 | 7.5833 | 6.5 | 5.4166 | 3.25
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0.1625 | 0.1625 | 0.10833 | 0.1625 | 0.1625 | 0.10833 | 0.21667 | 1.0292 | 2.9792 | 4.7667 | 8.6666 | 6.2833 | 15.2208 | 13.9208 | 9.6416 | 10.2375 | 6.9875 | 3.4667 | 0.1625 | 0.1625 | 0.21667 | 0.1625 | 0.1625 | 0.4875
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.13 | 0.07 | 1.13 | 1 | 0 | 0 | 0.17 | 1.18 | 0.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 3.25 | 3.25 | 3.25 | 3.25 | 3.25 | 3.25 | 3.25 | 5.4166 | 3.25 | 4.3333 | 4.3333 | 4.3333 | 3.25 | 5.4166 | 5.4166 | 4.3333 | 3.25 | 3.25 | 3.25 | 3.25 | 3.25 | 3.25 | 3.25 | 3.25
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 31.2216 | 31.2216 | 20.2258 | 19.9549 | 20.3124 | 31.1132 | 20.7891 | 22.5658 | 35.4249 | 36.1616 | 37.9274 | 48.5007 | 36.9849 | 39.639 | 36.2699 | 48.739 | 26.1299 | 25.1441 | 34.0274 | 34.0274 | 32.1966 | 32.0016 | 20.9408 | 32.9874
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 5.4166 | 5.4166 | 5.4166 | 5.4166 | 5.4166 | 5.4166 | 5.4166 | 6.5 | 5.4166 | 8.6666 | 7.5833 | 6.5 | 9.75 | 6.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 125.3413 | 63.3748 | 0 | 0 | 0.10833 | 0 | 0 | 119.2746 | 99.0164 | 119.708 | 0.10833 | 0.10833 | 0 | 81.1414 | 121.4413 | 0 | 0 | 0 | 0 | 0 | 0
32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | 0 | 0 | 10.8333 | 0 | 0 | 0 | 0 | 0 | 10.8333 | 0 | 0 | 10.8333 | 0 | 10.8333 | 0 | 10.8333 | 10.8333 | 10.8333 | 10.8333 | 0 | 10.8333 | 0 | 10.8333 | 0
34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0833 | 1.0833 | 5.4166 | 1.0833 | 1.0833 | 1.0833 | 2.1667 | 2.1667 | 2.1667 | 2.1667 | 2.1667 | 2.1667 | 0 | 0 | 0 | 0 | 0 | 0
37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Heat load
Load/Building/Resource | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | 10 | 10 | 10 | 10 | 10 | 84 | 34 | 244 | 193 | 186 | 95 | 115 | 89 | 112 | 111 | 87 | 108 | 123 | 10 | 10 | 10 | 10 | 10 | 10
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 86 | 87 | 85 | 87 | 87 | 82 | 94 | 88 | 80 | 98 | 85 | 78 | 75 | 82 | 62 | 64 | 70 | 15 | 10 | 10 | 10 | 10 | 10 | 10
4 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
5 | 527 | 527 | 527 | 496 | 527 | 527 | 558 | 589 | 651 | 682 | 744 | 774 | 774 | 774 | 744 | 744 | 744 | 774 | 774 | 682 | 651 | 620 | 620 | 589
6 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 17 | 22 | 20 | 21 | 14 | 27 | 22 | 31 | 17 | 32 | 32 | 21 | 13 | 10 | 10 | 10 | 10
7 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 10 | 41.88 | 30.136 | 36.127 | 49.333 | 129.659 | 117.789 | 69.102 | 110.284 | 10 | 10 | 10 | 109.417 | 83.062 | 10 | 10 | 10 | 62.122 | 10 | 10 | 35.954 | 41.828 | 33.218 | 47.295
13 | 104 | 10 | 10 | 10 | 79 | 10 | 37 | 269 | 126 | 144 | 140 | 131 | 127 | 133 | 126 | 135 | 156 | 10 | 10 | 10 | 123 | 34 | 75 | 105
14 | 29 | 23 | 49 | 34 | 28 | 38 | 34 | 50 | 53 | 38 | 77 | 60 | 79 | 43 | 63 | 44 | 54 | 39 | 24 | 23 | 29 | 29 | 41 | 46
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 75 | 71 | 70 | 70 | 70 | 70 | 75 | 246 | 847 | 481 | 466 | 465 | 437 | 433 | 406 | 417 | 393 | 425 | 460 | 438 | 237 | 191 | 144 | 142
17 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
18 | 50.429 | 37.822 | 47.277 | 50.429 | 37.822 | 66.188 | 66.188 | 179.653 | 144.983 | 138.679 | 151.286 | 141.831 | 138.679 | 148.135 | 135.527 | 144.983 | 144.983 | 126.072 | 110.313 | 110.313 | 59.884 | 53.581 | 44.125 | 53.581
19 | 29 | 27 | 28 | 29 | 28 | 29 | 24 | 70 | 186 | 198 | 189 | 176 | 162 | 130 | 137 | 131 | 144 | 154 | 161 | 136 | 179 | 160 | 11 | 33
20 | 54 | 51 | 49 | 52 | 45 | 94 | 147 | 280 | 259 | 272 | 267 | 264 | 258 | 248 | 251 | 262 | 253 | 281 | 288 | 279 | 251 | 204 | 168 | 123
21 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
24 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 72.592
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 180 | 120 | 220 | 200 | 160 | 180 | 160 | 140 | 320 | 360 | 360 | 300 | 260 | 320 | 300 | 300 | 340 | 220 | 280 | 140 | 260 | 240 | 240 | 220
27 | 40 | 40 | 40 | 40 | 40 | 20 | 40 | 60 | 60 | 40 | 40 | 60 | 40 | 60 | 60 | 60 | 60 | 40 | 40 | 40 | 40 | 40 | 20 | 40
28 | 10 | 10 | 10 | 10 | 10 | 10 | 255 | 10 | 10 | 10 | 10 | 10 | 11 | 10 | 21 | 35 | 71 | 176 | 30 | 10 | 10 | 10 | 10 | 10
29 | 10 | 10 | 10 | 10 | 10 | 10 | 12 | 133 | 102 | 146 | 126 | 117 | 105 | 112 | 98 | 107 | 103 | 106 | 101 | 101 | 103 | 10 | 10 | 10
30 | 10 | 10 | 10 | 10 | 10 | 10 | 1400 | 400 | 500 | 500 | 400 | 400 | 500 | 400 | 400 | 500 | 400 | 500 | 10 | 10 | 10 | 10 | 10 | 10
31 | 10 | 207 | 175 | 230 | 125 | 54 | 100 | 10 | 267 | 683 | 678 | 1363 | 455 | 441 | 475 | 489 | 367 | 10 | 98 | 68 | 136 | 10 | 44 | 39
32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | 83 | 107 | 92 | 161 | 111 | 135 | 128 | 154 | 149 | 142 | 133 | 126 | 131 | 130 | 124 | 130 | 139 | 140 | 135 | 121 | 112 | 106 | 117 | 110
34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
36 | 59 | 59 | 59 | 58 | 59 | 59 | 58 | 59 | 57 | 58 | 57 | 59 | 57 | 55 | 54 | 56 | 50 | 60 | 59 | 59 | 58 | 59 | 59 | 59
37 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
38 | 59 | 26 | 58 | 58 | 70 | 65 | 161 | 136 | 429 | 461 | 280 | 425 | 449 | 345 | 251 | 419 | 468 | 460 | 254 | 58 | 52 | 34 | 79 | 47
39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Loads, buildings, resources
|  | Load/Building/Resource | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39
2 | Electrical heater | Installed (0-no,1-yes) | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1
3 |  | Max power (kW) | 0 | 0 | 0 | 1000 | 1000 | 0 | 0 | 1000 | 0 | 1000 | 1000 | 1000 | 0 | 1000 | 0 | 0 | 1000 | 1000 | 1000 | 0 | 0 | 1000 | 1000 | 1000 | 0 | 0 | 0 | 1000 | 0 | 1000 | 1000 | 0 | 1000 | 1000 | 0 | 0 | 1000 | 1000 | 1000
4 |  | Efficiency/COP | 0 | 0 | 0 | 3.45 | 3.45 | 0 | 0 | 3.45 | 0 | 3.45 | 3.45 | 3.45 | 0 | 3.45 | 0 | 0 | 3.45 | 3.45 | 3.45 | 0 | 0 | 3.45 | 3.45 | 3.45 | 0 | 0 | 0 | 3.45 | 0 | 3.45 | 3.45 | 0 | 3.45 | 3.45 | 0 | 0 | 3.45 | 3.45 | 3.45
5 | Gas heater | Installed (0-no,1-yes) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  | Max power (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  | Efficiency/COP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | PV | Installed (0-no,1-yes) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
9 |  | Max power (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3000 | 0 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | 0
10 | Storage | Installed (0-no,1-yes) | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
11 |  | Max power (kW) | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 100 | 0 | 0 | 100 | 100 | 0 | 100 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 100 | 0 | 0 | 0 | 0 | 0
12 |  | Max SOC (kWh) | 0 | 0 | 0 | 250 | 0 | 0 | 0 | 250 | 0 | 0 | 250 | 250 | 0 | 250 | 0 | 0 | 0 | 0 | 250 | 0 | 0 | 0 | 0 | 250 | 0 | 0 | 0 | 0 | 0 | 0 | 250 | 0 | 250 | 250 | 0 | 0 | 0 | 0 | 0
13 |  | Min SOC (kWh) | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 15 | 0 | 0 | 15 | 15 | 0 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 15 | 15 | 0 | 0 | 0 | 0 | 0
14 |  | Initial SOC (kWh) | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 100 | 0 | 0 | 100 | 100 | 0 | 100 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 100 | 0 | 0 | 0 | 0 | 0
15 |  | Efficiency | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0.9 | 0.9 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0
16 | District heating | Installed (0-no,1-yes) | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0
17 |  | Max power (kW) | 750 | 750 | 750 | 0 | 0 | 750 | 750 | 0 | 750 | 0 | 0 | 0 | 750 | 0 | 750 | 750 | 0 | 0 | 0 | 750 | 750 | 0 | 0 | 0 | 750 | 750 | 750 | 0 | 750 | 0 | 0 | 750 | 0 | 0 | 750 | 750 | 0 | 0 | 0
18 | Gas | Load (0-no,1-yes) | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1
19 | Thermal model building | R (ºC/kWh) | 0 | 0.081 | 0 | 0 | 0 | 0 | 0 | 0.081 | 0 | 0 | 0.081 | 0 | 0.081 | 0 | 0.081 | 0 | 0 | 0 | 0 | 0 | 0 | 0.081 | 0 | 0 | 0.081 | 0 | 0 | 0 | 0 | 0 | 0 | 0.081 | 0 | 0.081 | 0 | 0 | 0 | 0 | 0.081
20 |  | C (kWh/ºC) | 0 | 437.7 | 0 | 0 | 0 | 0 | 0 | 437.7 | 0 | 0 | 437.7 | 0 | 437.7 | 0 | 437.7 | 0 | 0 | 0 | 0 | 0 | 0 | 3.45 | 0 | 0 | 437.7 | 0 | 0 | 0 | 0 | 0 | 0 | 437.7 | 0 | 437.7 | 0 | 0 | 0 | 0 | 3.45
21 |  | Initial temperature (ºC) | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 20 | 0 | 20 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 20 | 0 | 0 | 0 | 0 | 20

## Buildings - Max temperature
Load/Building/Resource | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39
1 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
2 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
3 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
4 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
5 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
6 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
7 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
8 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
9 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
10 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
11 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
12 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
13 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
14 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
15 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
16 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
17 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
18 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | 0 | 23
19 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
20 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
21 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
22 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
23 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26
24 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | 0 | 26

## Buildings - Min temperature
Load/Building/Resource | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39
1 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
2 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
3 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
4 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
5 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
6 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
7 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
8 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
9 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
10 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
11 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
12 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
13 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
14 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
15 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
16 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
17 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
18 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 19
19 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
20 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
21 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
22 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
23 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16
24 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 16

## Fuel station
Electrical bus | 12
Gas bus | 0
Electrolyzer - Maximum power (kW) | 0
Electrolyzer - Efficiency | 0
Hydrogen storage - SOC max (kg) | 0
Hydrogen storage - SOC min (kg) | 0
Hydrogen storage - SOC init (kg) | 0
Hydrogen storage - max power (kW) | 0
Hydrogen - Low heat value (kWh/kg) | 39.72
Water coefficient (L/kWh) | 0.35
Oxygen coefficient (kg/kWh) | 0.0925

## Hydrogen load
Fuel station load | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0